# BIOPAC/AcqKnowledge Data Acquisition

MP160 Digital Channels

| BioNomadix Transmitter | Acquisition Type | 1st Channel | 2nd Channel | 3rd Channel |
| --- | --- | --- | --- | --- |
| ACCR3-R (BN - wireless) | Accelerometry (ACCR) | ACCR – 1(X) | ACCR – 5(Y) | ACCR – 9(Z) |
| EMG2-R (BN - wireless) | Electromyography (EMG) | EMG1 – 2(X) | EMG2 – 10(X) |  |
| PPGED-R (BN - wireless) | Electrodermal Activity (EDA) | PPG - OFF | EDA – 11(X) |  |
| RSPEC-R (BN - wireless) | Respiration (RSP) / Electrocardiogram (ECG) | RSP – 4(X) | ECG – 12(X) |  |

Unassigned Channels: 3, 6, 7, 8, 13, 14, 15

** DO NOT CHANGE CHANNEL ASSIGNMENTS! **