BIOPAC/AcqKnowledge Data Acquisition

**MP160 Digital Channels**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **BioNomadix Transmitter** | **Acquisition Type** | **1st Channel** | **2nd Channel** | **3rd Channel** |
| **ACCR3-R** (BN - wireless) | Accelerometry (*ACCR*) | ACCR – 1(X) | ACCR – 5(Y) | ACCR – 9(Z) |
| **EMG2-R** (BN - wireless) | Electromyography (*EMG*) | EMG1 – 2(X) | EMG2 – 10(X) |  |
| **PPGED-R** (BN - wireless) | Electrodermal Activity (*EDA*) | PPG - *OFF* | EDA – 11(X) |  |
| **RSPEC-R** (BN - wireless) | Respiration (RSP) / Electrocardiogram (ECG) | RSP – 4(X) | ECG – 12(X) |  |

**Unassigned Channels: 3, 6, 7, 8, 13, 14, 15**

A picture containing text, row, lined, different

Description automatically generated

**\*\* DO NOT CHANGE CHANNEL ASSIGNMENTS! \*\***